## Légende
Objectif de ce classeur
Catalogue complet de l'analyse de risque (ex-onglet 'Anrigen'), restructuré en 4 tables reliées par id : Categories > SousCategories > Activites > LignesRisque. C'est le niveau 'Activité' qui correspond à une case à cocher pour le PM dans le wizard.
Sur les id
Les id ont été régénérés proprement (ex. 'cat32_hvac_froid_sub1_act3') — les anciens codes numériques du classeur (10.1.2, 32.1.1...) contenaient des doublons entre catégories (ex. 32.1.1 réutilisé en HVAC-Froid ET en Photovoltaïque) et ne pouvaient plus servir d'identifiant fiable. L'ancien code est conservé en colonne 'code_origine' pour référence uniquement, il n'est plus utilisé par l'application.
Sur le corps de métier
La colonne 'corps_metier' de l'onglet Categories vaut 'universel' pour les catégories toujours affichées (Mesures générales, Exécution générale), ou 'electricite' / 'hvac_froid' / 'photovoltaique' pour les 3 catégories filtrées selon la caractérisation du chantier.
Sur l'évaluation Kinney et les mesures de prévention
Toutes fixes, validées QHSE/CPPT — non modifiables par le PM dans le wizard, exactement comme le reste du catalogue.
Ce qui n'est PAS dans ce fichier
Les traductions EN/NL (à traiter dans un second temps, comme convenu) et la gestion des demandes MOADR (points très spécifiques au chantier, hors catalogue — ce sont des données du dossier chantier, pas du catalogue fixe).
Marche à suivre : colonnes granularite / confiance (onglet Activites)
Chaque activité doit être classée entre deux comportements possibles dans le wizard, colonne 'granularite' :
'activite' → UNE SEULE case à cocher sur le titre de l'activité. La cocher inclut automatiquement TOUS ses risques (Kinney + mesures compris), sans autre action. À utiliser quand l'activité décrit une action/opération précise dont les risques sont systématiques, sans exception, dès que cette action a lieu. Exemple : 'Travaux de soudure' → accidents divers, retour de flamme, électrocution et brûlure sont TOUJOURS présents dès qu'il y a soudure, il n'y a pas de choix à faire.
'risque' → comportement historique : une case par risque (ou par groupe de risques partageant le même sourceDanger). À utiliser quand l'activité décrit une catégorie ou une condition de chantier dans laquelle plusieurs scénarios sont réellement indépendants et optionnels — certains peuvent s'appliquer, d'autres non, selon le chantier. Exemple : 'Accès au chantier' → 'accès non maîtrisés', 'piste non stabilisée' et 'zones de circulation non définies' sont 3 problèmes distincts, un chantier peut n'en avoir qu'un seul ou aucun.
Question à se poser pour trancher : si ce travail/cette situation a lieu, est-ce que TOUS les risques listés dessous s'appliquent automatiquement, sans exception ? Si oui → 'activite'. S'il y a un cas où seulement une partie s'appliquerait selon le chantier → 'risque'.
Colonne 'confiance' : 'Oui' = classement validé, à considérer fiable. 'À vérifier' = premier classement automatique (basé sur le style du titre), encore à relire — ne pas s'y fier sans corriger.

## Categories
id | code_origine | fr | corps_metier | groupe
cat10_mesures_generales | 10 | General measures | universel
cat21_manutention_et_levage | 21 | Handling and lifting | universel | General execution
cat22_travaux_en_hauteur | 22 | Work at height | universel | General execution
cat23_travaux_de_percements | 23 | Drilling and coring work | universel | General execution
cat24_travaux_de_mesurage_ou_de | 24 | Measuring or surveying work | universel | General execution
cat25_travaux_dans_des_lieux_pa | 25 | Work in particular locations | universel | General execution
cat26_travaux_de_fixation | 26 | Fixing work | universel | General execution
cat27_travaux_de_faconnage_deco | 27 | Shaping work (cutting, threading…) | universel | General execution
cat31_electricite_basse_et_moye | 31 | Low and medium voltage electrical work | electricite | Trade-specific risks
cat32_hvac_froid | 32 | HVAC - REFRIGERATION | hvac_froid | Trade-specific risks
cat33_photovoltaique | 33 | Photovoltaic | photovoltaique | Trade-specific risks

## SousCategories
id | code_origine | fr | parent
cat10_mesures_generales_sub1 | 10.1 | Site setup | cat10_mesures_generales
cat10_mesures_generales_sub2 | 10.2 | Site circulation | cat10_mesures_generales
cat10_mesures_generales_sub3 | 10.3 | Reception and storage of equipment/materials | cat10_mesures_generales
cat10_mesures_generales_sub4 | 10.4 | Waste removal | cat10_mesures_generales
cat31_electricite_basse_et_moye_sub1 | 31.1 | Major equipment | cat31_electricite_basse_et_moye
cat31_electricite_basse_et_moye_sub2 | 31.2 | Execution | cat31_electricite_basse_et_moye
cat32_hvac_froid_sub1 | 32.1 | Execution | cat32_hvac_froid
cat33_photovoltaique_sub1 | 33.1 | Execution | cat33_photovoltaique

## Activites
id | code_origine | fr | parent | granularite | confiance | notes
cat10_mesures_generales_sub1_act1 | 10.1.1 | Site layout | cat10_mesures_generales_sub1 | risque | Oui
cat10_mesures_generales_sub1_act2 | 10.1.2 | Site access | cat10_mesures_generales_sub1 | risque | Oui | confirmé en conversation
cat10_mesures_generales_sub1_act3 | 10.1.3 | Installation of signage | cat10_mesures_generales_sub1 | activite | Oui
cat10_mesures_generales_sub1_act4 | 10.1.4 | Positioning of containers and site cabins using a crane truck with unloading arm | cat10_mesures_generales_sub1 | activite | Oui
cat10_mesures_generales_sub1_act5 | 10.1.5 | Electrical and telephone connection, earthing, using specific tools | cat10_mesures_generales_sub1 | Risque | Oui
cat10_mesures_generales_sub1_act6 | 10.1.6 | Changing rooms | cat10_mesures_generales_sub1 | risque | Oui
cat10_mesures_generales_sub1_act7 | 10.1.7 | Canteen for meals | cat10_mesures_generales_sub1 | risque | Oui
cat10_mesures_generales_sub1_act8 | 10.1.8 | Sanitary facilities | cat10_mesures_generales_sub1 | activite | Oui
cat10_mesures_generales_sub2_act1 | 10.2.1 | Movement on site | cat10_mesures_generales_sub2 | activite | Oui
cat10_mesures_generales_sub2_act2 | 10.2.2 | Manoeuvring on site | cat10_mesures_generales_sub2 | activite | Oui
cat10_mesures_generales_sub3_act1 | 10.3.1 | Reception of heavy equipment/materials | cat10_mesures_generales_sub3 | activite | Oui
cat10_mesures_generales_sub3_act2 | 10.3.2 | Reception of specific equipment: fire extinguishers, drills, grinders, hydraulic cutters, scaffolding, safety harnesses, lifting equipment and accessories, pulleys, hoists, tirfors, slings, straps, etc. | cat10_mesures_generales_sub3 | activite | Oui
cat10_mesures_generales_sub3_act3 | 10.3.3 | Reception of specific equipment: MEWPs (aerial work platforms) - forklifts - telescopic forklifts | cat10_mesures_generales_sub3 | activite | Oui
cat10_mesures_generales_sub3_act4 | 10.3.4 | Storage | cat10_mesures_generales_sub3 | activite | Oui | confirmé en conversation
cat21_manutention_et_levage_act1 | 21.1.1 | Manual handling | cat21_manutention_et_levage | activite | Oui
cat21_manutention_et_levage_act2 | 21.1.2 | Mechanical lifting of materials and equipment | cat21_manutention_et_levage | activite | Oui
cat22_travaux_en_hauteur_act1 | 22.1.1 | General measures for all types of work at height | cat22_travaux_en_hauteur | activite | Oui
cat22_travaux_en_hauteur_act2 | 22.1.2 | Stairs | cat22_travaux_en_hauteur | activite | Oui
cat22_travaux_en_hauteur_act3 | 22.1.3 | MEWP (aerial work platform) | cat22_travaux_en_hauteur | activite | Oui
cat22_travaux_en_hauteur_act4 | 22.1.4 | Ladder | cat22_travaux_en_hauteur | activite | Oui
cat22_travaux_en_hauteur_act5 | 22.1.5 | Scaffolding | cat22_travaux_en_hauteur | activite | Oui
cat31_electricite_basse_et_moye_sub1_act1 | 31.1.1 | Bringing an HV cabin, HV transformer, main LV switchboard, backup generator, UPS, etc. into the building using a transport truck with crane, slings, chain, hooks, shackles, etc. | cat31_electricite_basse_et_moye_sub1 | activite | Oui
cat31_electricite_basse_et_moye_sub1_act2 | 31.1.2 | Installation, stripping, connection and insulation testing of cables in the HV cabin, HV transformer, main LV switchboard, backup generator, UPS | cat31_electricite_basse_et_moye_sub1 | activite | Oui
cat31_electricite_basse_et_moye_sub1_act3 | 31.1.3 | De-energising / energising the HV cabin | cat31_electricite_basse_et_moye_sub1 | activite | Oui
cat31_electricite_basse_et_moye_sub1_act4 | 31.1.4 | De-energising / energising the generator, main LV switchboard, etc. | cat31_electricite_basse_et_moye_sub1 | activite | Oui
cat31_electricite_basse_et_moye_sub2_act1 | 31.2.1 | Installation of cable tray supports at a height < 2 m using a stepladder and specific tools (grinder, drill, welding set, etc.) | cat31_electricite_basse_et_moye_sub2 | activite | Oui
cat31_electricite_basse_et_moye_sub2_act2 | 31.2.2 | Installation of cable tray supports at a height > 2 m using scaffolding or a MEWP and specific tools (grinder, drill, welding set, etc.) | cat31_electricite_basse_et_moye_sub2 | activite | Oui
cat31_electricite_basse_et_moye_sub2_act3 | 31.2.3 | Cable pulling at a height < 2 m using stepladders and specific tools (jack – spindle or cable reel) | cat31_electricite_basse_et_moye_sub2 | activite | Oui
cat31_electricite_basse_et_moye_sub2_act4 | 31.2.4 | Cable pulling at a height > 2 m using scaffolding or a MEWP and specific tools (jack – spindle or cable reel) | cat31_electricite_basse_et_moye_sub2 | activite | Oui
cat31_electricite_basse_et_moye_sub2_act5 | 31.2.5 | Cable pulling in technical ducts/service voids | cat31_electricite_basse_et_moye_sub2 | activite | Oui
cat31_electricite_basse_et_moye_sub2_act6 | 31.2.6 | Cable pulling in trenches | cat31_electricite_basse_et_moye_sub2 | activite | Oui
cat31_electricite_basse_et_moye_sub2_act7 | 31.2.7 | Trenching using specific tools and equipment (shovel, pick, excavator, etc.) | cat31_electricite_basse_et_moye_sub2 | activite | Oui
cat31_electricite_basse_et_moye_sub2_act8 | 31.2.8 | Installation of conduit/ducting | cat31_electricite_basse_et_moye_sub2 | activite | Oui
cat32_hvac_froid_sub1_act1 | 32.1.1 | Use of certain products | cat32_hvac_froid_sub1 | risque | Oui | confirmé en conversation (HVAC)
cat32_hvac_froid_sub1_act2 | 32.1.2 | Welding work | cat32_hvac_froid_sub1 | activite | Oui | confirmé en conversation (HVAC)
cat32_hvac_froid_sub1_act3 | 32.1.3 | Insulation work | cat32_hvac_froid_sub1 | activite | Oui
cat32_hvac_froid_sub1_act4 | 32.1.4 | Electrical work | cat32_hvac_froid_sub1 | activite | Oui
cat32_hvac_froid_sub1_act5 | 32.1.1 | Detection work (gas leaks, etc.) | cat32_hvac_froid_sub1 | activite | Oui
cat32_hvac_froid_sub1_act6 | 32.1.6 | Commissioning and intervention | cat32_hvac_froid_sub1 | risque | Oui
cat32_hvac_froid_sub1_act7 | 32.1.7 | Dismantling work | cat32_hvac_froid_sub1 | activite | Oui
cat32_hvac_froid_sub1_act8 | 32.1.8 | Earthworks and pipe-laying work | cat32_hvac_froid_sub1 | activite | Oui
cat33_photovoltaique_sub1_act1 | 32.1.1 | Lifting equipment | cat33_photovoltaique_sub1 | activite | Oui
cat33_photovoltaique_sub1_act2 | 32.1.2 | Roof work | cat33_photovoltaique_sub1 | activite | Oui
cat33_photovoltaique_sub1_act3 | 32.1.3 | Work in windy conditions | cat33_photovoltaique_sub1 | activite | Oui
cat33_photovoltaique_sub1_act4 | 32.1.4 | Welding - cutting work | cat33_photovoltaique_sub1 | activite | Oui | même logique que Travaux de soudure (HVAC)

## LignesRisque
id | parent | sourceDanger | risques | eval_ini_probabilite_texte | eval_ini_probabilite_valeur | eval_ini_exposition_texte | eval_ini_exposition_valeur | eval_ini_gravite_texte | eval_ini_gravite_valeur | eval_ini_score | eval_ini_niveau | mesures_prevention | eval_res_probabilite_texte | eval_res_probabilite_valeur | eval_res_exposition_texte | eval_res_exposition_valeur | eval_res_gravite_texte | eval_res_gravite_valeur | eval_res_score | eval_res_niveau
cat10_mesures_generales_sub1_act1_risque1 | cat10_mesures_generales_sub1_act1 | Lack of coordination | - crushing of workers by the various site machinery/loads | Highly likely | 6 | 2-3 times a year | 0.5 | Several fatalities | 40 | 120 | Correction required | -Draw up the site layout plan in consultation with the client (MO) and the safety coordinator (CSS, if appointed) - a person in charge is designated to organise deliveries, site traffic and the guiding of machinery - installation of adequate signage (see signage section) '- Definition and marking-out of the different traffic zones | Virtually impossible | 0.2 | 2-3 times a year | 0.5 | Several fatalities | 40 | 4 | Acceptable
cat10_mesures_generales_sub1_act2_risque1 | cat10_mesures_generales_sub1_act2 | Uncontrolled access of vehicles and pedestrians | -Accidents involving people from outside the site | Unusual but possible | 3 | Working hours | 10 | Disability, permanent injury | 7 | 210 | Immediate action | - Fence off work zones located alongside roads and put up signs: "No entry to the site". - Wear and require the wearing of high-visibility work clothing (hi-vis vest as a minimum) - Sign-post and mark out the access routes | Virtually impossible | 0.2 | Working hours | 10 | Inability to work | 3 | 6 | Acceptable
cat10_mesures_generales_sub1_act2_risque2 | cat10_mesures_generales_sub1_act2 | Unstabilised track/roadway | - slipping on the track | Highly likely | 6 | Working hours | 10 | Inability to work | 3 | 180 | Correction required | - Stabilisation and maintenance of the track | If everything goes wrong at once | 0.5 | Working hours | 10 | Inability to work | 3 | 15 | Acceptable
cat10_mesures_generales_sub1_act2_risque3 | cat10_mesures_generales_sub1_act2 | Undefined traffic zones | - objects falling within the site area | Unusual but possible | 3 | 2-3 times a day | 6 | 1 fatality | 15 | 270 | Immediate action | -Enforce the ban on moving outside the work zones and pedestrian traffic zones, and enforce the wearing of a hard hat | Virtually impossible | 0.2 | 2-3 times a day | 6 | 1 fatality | 15 | 18.000000000000004 | Acceptable
cat10_mesures_generales_sub1_act3_risque1 | cat10_mesures_generales_sub1_act3 | Uncontrolled nearby traffic | -Accidents involving people struck by vehicles | Unusual but possible | 3 | Every week | 3 | Inability to work | 3 | 27 | Acceptable | - Determine the secure parking zones both on the plan and on site - Wear high-visibility work clothing - Switch on the vehicle's beacon light when working at night - If the location is hidden, either wait until daylight or direct traffic and mark the site. | If everything goes wrong at once | 0.5 | Every week | 3 | Inability to work | 3 | 4.5 | Acceptable
cat10_mesures_generales_sub1_act3_risque2 | cat10_mesures_generales_sub1_act3 | Absence of signage /marking-out | - traffic accident'/collision with a pedestrian | Possible if multiple issues occur simultaneously | 1 | Working hours | 10 | 1 fatality | 15 | 150 | Correction required | - Installation of traffic warning signs. -Work alongside roads is prohibited without marking-out. -Compliance with the highway code and the instructions of the competent authorities. | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat10_mesures_generales_sub1_act4_risque1 | cat10_mesures_generales_sub1_act4 | Insufficient ground bearing capacity | - truck overturning (insufficient ground bearing capacity) | Highly likely | 6 | 2-3 times a year | 0.5 | Several fatalities | 40 | 120 | Correction required | - use of steel plates under the outriggers of the crane truck - assessment and stabilisation of the area in case of doubt | Virtually impossible | 0.2 | 2-3 times a year | 0.5 | Several fatalities | 40 | 4 | Acceptable
cat10_mesures_generales_sub1_act4_risque2 | cat10_mesures_generales_sub1_act4 | Insufficient ground bearing capacity | - tipping over of the load | Unusual but possible | 3 | Every week | 3 | 1 fatality | 15 | 135 | Correction required | - use of inspected equipment only | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat10_mesures_generales_sub1_act4_risque3 | cat10_mesures_generales_sub1_act4 | Insufficient ground bearing capacity | - breakage of slings | Unusual but possible | 3 | Every week | 3 | 1 fatality | 15 | 135 | Correction required | - use of inspected slings | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat10_mesures_generales_sub1_act4_risque4 | cat10_mesures_generales_sub1_act4 | Insufficient ground bearing capacity | - entrapment while guiding the load | Possible if multiple issues occur simultaneously | 1 | Every week | 3 | 1 fatality | 15 | 45 | Attention required | - guiding the load by means of a rope | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat10_mesures_generales_sub1_act4_risque5 | cat10_mesures_generales_sub1_act4 | Insufficient ground bearing capacity | - crushing of personnel | Unusual but possible | 3 | Every week | 3 | 1 fatality | 15 | 135 | Correction required | - marking-out of the zone. - Prohibition on moving underneath the load. | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat10_mesures_generales_sub1_act5_risque1 | cat10_mesures_generales_sub1_act5 | Existing buried cables and/or pipes | - damage to existing cables or pipes | Unusual but possible | 3 | Every month | 1 | Several fatalities | 40 | 120 | Correction required | - prior consultation with the project supervisor or their representative in case of works near existing cables or pipes - exploratory trial pit | If everything goes wrong at once | 0.5 | Every month | 1 | Several fatalities | 40 | 20 | Acceptable
cat10_mesures_generales_sub1_act5_risque2 | cat10_mesures_generales_sub1_act5 | Existing buried cables and/or pipes | - dust emission | Highly likely | 6 | Every month | 1 | Disability, permanent injury | 7 | 42 | Attention required | - Dampen the area in strong wind. | It will happen | 10 | Every month | 1 | First aid | 1 | 10 | Acceptable
cat10_mesures_generales_sub1_act5_risque3 | cat10_mesures_generales_sub1_act5 | Existing buried cables and/or pipes | - person falling into a trench | Highly likely | 6 | Every month | 1 | 1 fatality | 15 | 90 | Correction required | - Marking-out of the work zone with barrier tape and stakes at 1.5 m from the edge - Installation of a fall-prevention barrier - Covering of the zone as work progresses - Installation of footbridges with integrated guardrails on paths crossing the trench | If everything goes wrong at once | 0.5 | Every month | 1 | 1 fatality | 15 | 7.5 | Acceptable
cat10_mesures_generales_sub1_act5_risque4 | cat10_mesures_generales_sub1_act5 | Connection | - electrocution | Unusual but possible | 3 | Every month | 1 | 1 fatality | 15 | 45 | Attention required | - Connection carried out by a competent electrician. - Acceptance inspection of the installation before commissioning - Preparatory work carried out with the power off before connection - Lock-out/tag-out (consignation) | Virtually impossible | 0.2 | Every month | 1 | 1 fatality | 15 | 3 | Acceptable
cat10_mesures_generales_sub1_act6_risque1 | cat10_mesures_generales_sub1_act6 | Theft | - Psychosocial risk | Highly likely | 6 | Working hours | 10 | Inability to work | 3 | 180 | Correction required | -Entrance door and locker room cabinets fitted with a locking system | Virtually impossible | 0.2 | Working hours | 10 | Inability to work | 3 | 6 | Acceptable
cat10_mesures_generales_sub1_act6_risque2 | cat10_mesures_generales_sub1_act6 | Facilities shared with subcontractor/other company | - contamination due to lack of hygiene | Unusual but possible | 3 | 2-3 times a day | 6 | Inability to work | 3 | 54 | Attention required | - Ban on eating meals in the changing room - Ensure each company's role in tidying and cleaning is clear - Ensure proper tidying and cleaning at each shift change (at least once a day) - Ensure sorting and disposal of waste in the appropriate containers | Possible if multiple issues occur simultaneously | 1 | 2-3 times a day | 6 | Inability to work | 3 | 18 | Acceptable
cat10_mesures_generales_sub1_act6_risque3 | cat10_mesures_generales_sub1_act6 | Facilities shared with subcontractor/other company | - fire | Possible if multiple issues occur simultaneously | 1 | 2-3 times a day | 6 | Several fatalities | 40 | 240 | Immediate action | - Comply with and enforce the ban on placing clothing on heaters - Ensure sufficient fire extinguishers are present nearby - Comply with and enforce the smoking ban. - Visual inspection before switching off and leaving the premises at the end of each shift or day. | Virtually impossible | 0.2 | 2-3 times a day | 6 | Several fatalities | 40 | 48.000000000000007 | Attention required
cat10_mesures_generales_sub1_act7_risque1 | cat10_mesures_generales_sub1_act7 | Facilities shared with subcontractor/other company | - contamination due to lack of hygiene (facilities shared with subcontractor/other company) | Highly likely | 6 | 2-3 times a day | 6 | Inability to work | 3 | 108 | Correction required | - Ensure each company's role in tidying and cleaning is clear - Ensure proper tidying and cleaning at each shift change (at least once a day) - Ensure sorting and disposal of waste in the appropriate containers | Virtually impossible | 0.2 | 2-3 times a day | 6 | Inability to work | 3 | 3.6000000000000005 | Acceptable
cat10_mesures_generales_sub1_act7_risque2 | cat10_mesures_generales_sub1_act7 | Outdoor temperatures | - lack of warmth in winter, hypothermia | It will happen | 10 | 2-3 times a day | 6 | Inability to work | 3 | 180 | Correction required | - installation of heaters | Virtually impossible | 0.2 | 2-3 times a day | 6 | Inability to work | 3 | 3.6000000000000005 | Acceptable
cat10_mesures_generales_sub1_act7_risque3 | cat10_mesures_generales_sub1_act7 | Outdoor temperatures | - fire | Possible if multiple issues occur simultaneously | 1 | 2-3 times a day | 6 | Several fatalities | 40 | 240 | Immediate action | - Comply with and enforce the ban on placing clothing on heaters - Ensure sufficient fire extinguishers are present nearby - Comply with and enforce the smoking ban. - Visual inspection before switching off and leaving the premises at the end of each shift or day. | Virtually impossible | 0.2 | 2-3 times a day | 6 | Several fatalities | 40 | 48.000000000000007 | Attention required
cat10_mesures_generales_sub1_act8_risque1 | cat10_mesures_generales_sub1_act8 | Facilities shared with subcontractor/other company | - contamination (lack of hygiene) | Highly likely | 6 | Working hours | 10 | Inability to work | 3 | 180 | Correction required | - Ensure each company's role in tidying and cleaning is clear - Ensure proper tidying and cleaning at each shift change (at least once a day) - Ensure sorting and disposal of waste in the appropriate containers - visual inspection by the team leader and/or a designated person in charge - Comply with and enforce basic hygiene rules (posters, toolbox talks, etc.) | Virtually impossible | 0.2 | Working hours | 10 | Inability to work | 3 | 6 | Acceptable
cat10_mesures_generales_sub2_act1_risque1 | cat10_mesures_generales_sub2_act1 | Absence/insufficient lighting | Fall, bruising | Highly likely | 6 | Working hours | 10 | Disability, permanent injury | 7 | 420 | Consider stopping the work | -Provide sufficient lighting (no shadow areas, etc.) in dangerous or dark zones -Preferably use white light (the light must not affect the colours of the safety signage) -Shield reflective surfaces so that the lighting does not dazzle people | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat10_mesures_generales_sub2_act1_risque2 | cat10_mesures_generales_sub2_act1 | Uncontrolled obstacles | Fall / fall into an excavation / sprain | Highly likely | 6 | Working hours | 10 | Inability to work | 3 | 180 | Correction required | - Keep traffic routes in good condition: remove large stones, fill in holes, etc. - Keep access routes clear - Mark out excavations - Regularly tidy the site - Stay alert while moving around | Virtually impossible | 0.2 | Working hours | 10 | Inability to work | 3 | 6 | Acceptable
cat10_mesures_generales_sub2_act1_risque3 | cat10_mesures_generales_sub2_act1 | Absent or reduced visibility of people moving around the site | Collision/crushing | Unusual but possible | 3 | Working hours | 10 | 1 fatality | 15 | 450 | Consider stopping the work | - Wear and enforce the wearing of the hi-vis vest to increase visibility - Keep the beacon light on (for site machinery) at all times while moving - Do not wear MP3 players or similar; keep the radio volume low while driving. - Stay alert while moving around - Be accompanied by a banksman/guide when necessary and when the track is congested or visibility is reduced | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat10_mesures_generales_sub2_act1_risque4 | cat10_mesures_generales_sub2_act1 | Uncontrolled traffic from outside the site | Collision/crushing | Unusual but possible | 3 | Working hours | 10 | 1 fatality | 15 | 450 | Consider stopping the work | - No moving around the site with private vehicles. - No parking of private vehicles on the site (except in specially designated areas). | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat10_mesures_generales_sub2_act1_risque5 | cat10_mesures_generales_sub2_act1 | Transport of materials/equipment | Collision/crushing | Highly likely | 6 | Every week | 3 | Disability, permanent injury | 7 | 126 | Correction required | - Do not exceed the vehicle's maximum authorised load - Fit a warning panel when items project more than one metre behind the vehicle - Properly secure items placed on the vehicle's roof rack using straps | Virtually impossible | 0.2 | Every week | 3 | Disability, permanent injury | 7 | 4.2000000000000011 | Acceptable
cat10_mesures_generales_sub2_act2_risque1 | cat10_mesures_generales_sub2_act2 | - lack of attention -internal/external visibility -non-compliance with the rules when driving a vehicle or machine | collision/crushing | Highly likely | 6 | Working hours | 10 | 1 fatality | 15 | 900 | Consider stopping the work | - No mobile phone use while driving. - Stay alert to pedestrians and other machinery. - Comply with the traffic plan where one exists. - Operational reversing alarm on trucks, forklifts, etc. - Orange beacon light always active - Wear high-visibility work clothing - If necessary, designate a banksman to guide drivers during manoeuvres and handling operations. - Check the condition of the vehicle before setting off (headlights, tyres, brakes, oil level, clean windows, fire extinguisher, first-aid kit…) | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat10_mesures_generales_sub3_act1_risque1 | cat10_mesures_generales_sub3_act1 | Unloading | - Spilling/tipping of the load | Possible if multiple issues occur simultaneously | 1 | Every week | 3 | 1 fatality | 15 | 45 | Attention required | - A designated person organises deliveries, site traffic and the guiding of machinery - Unloading only in the zones shown on the site layout plan, or with the agreement of the client (MO) and/or safety coordinator (CSS) for any other zones. - Installation of steel plates under the crane's outriggers if the ground bearing capacity is insufficient. - Manoeuvre carried out by a competent operator - Use of slings that are in good condition and inspected (visual and quarterly inspection) | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat10_mesures_generales_sub3_act2_risque1 | cat10_mesures_generales_sub3_act2 | - Defective equipment leading to an accident | -Various accidents | Unusual but possible | 3 | Every week | 3 | Disability, permanent injury | 7 | 63 | Attention required | - Draw up an inventory of electrical equipment and tools. -Inspect weekly. - Keep operating instructions available for staff - Use double-insulated equipment - Keep an up-to-date inventory of chains, hooks and other removable lifting accessories used for securing, lifting or transporting loads or personnel - Keep a copy of inspection certificates issued by an approved body - Remove from service any equipment or accessories that have suffered damage, even partial | Virtually impossible | 0.2 | Every week | 3 | Disability, permanent injury | 7 | 4.2000000000000011 | Acceptable
cat10_mesures_generales_sub3_act3_risque1 | cat10_mesures_generales_sub3_act3 | - Defective equipment leading to an accident | -Various accidents | Highly likely | 6 | Working hours | 10 | 1 fatality | 15 | 900 | Consider stopping the work | - Before signing for acceptance: ° Visually inspect the machine (presence of guardrails, attachment point, absence of deformation, etc.) ° Check the validity of the inspection certificate from the approved inspection body (SECT) ° check and test the controls both at ground level and in the basket. | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat10_mesures_generales_sub3_act4_risque1 | cat10_mesures_generales_sub3_act4 | Gas cylinders | - Explosion | Highly likely | 6 | Working hours | 10 | Several fatalities | 40 | 2400 | Consider stopping the work | - Store each cylinder in an upright position - Store oxidising gases (oxygen) separately from combustible gases (acetylene, propane, methane, etc.): whether the cylinders are empty or full - Regularly remove empty cylinders - Keep the storage area away from all activity - Restrict access to a single authorised person | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat10_mesures_generales_sub3_act4_risque2 | cat10_mesures_generales_sub3_act4 | Various materials or equipment | -Various accidents | Unusual but possible | 3 | Working hours | 10 | Disability, permanent injury | 7 | 210 | Immediate action | - Limit the height of stacked items - Where necessary, use equipment that facilitates storage (racks, bins, etc.) for better stability and easier handling | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat10_mesures_generales_sub3_act4_risque3 | cat10_mesures_generales_sub3_act4 | Heavy materials | -Various accidents | Unusual but possible | 3 | Working hours | 10 | Inability to work | 3 | 90 | Correction required | - Locate the storage area at a sufficient distance from unstable ground (sand, etc.), trenches, excavations and embankments - Ensure the ground bearing capacity is adequate; reinforce it (plates, etc.) if necessary | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat10_mesures_generales_sub3_act4_risque4 | cat10_mesures_generales_sub3_act4 | Hazardous products (gas cylinders, acids, etc.) | -Various accidents | Highly likely | 6 | 2-3 times a day | 6 | 1 fatality | 15 | 540 | Consider stopping the work | - Check that the list of hazardous products is included in the safety plan - Regularly tidy the storage room (keep the different hazardous products separated, etc.) - Check that each cylinder (full or empty) and/or container is properly closed, regularly check the tightness and the presence of the protective cap on the cylinders - Comply with the storage and safety instructions recommended by the manufacturer | Virtually impossible | 0.2 | 2-3 times a day | 6 | 1 fatality | 15 | 18.000000000000004 | Acceptable
cat10_mesures_generales_sub3_act4_risque5 | cat10_mesures_generales_sub3_act4 | Hazardous products (gas cylinders, acids, etc.) | - Fire, explosion | Highly likely | 6 | Working hours | 10 | 1 fatality | 15 | 900 | Consider stopping the work | - Smoking prohibited - Store hazardous products in a room away from any heat source (sun, etc.), preferably ventilated - Store only the quantities needed to meet immediate requirements - Post the appropriate signage at the entrance to the room (prohibitions and obligations): risks and measures to be taken - Clearly identify each hazardous product and store them separately - Place fire-fighting equipment (extinguishers, etc.) at the entrance to the room - Restrict access to the storage room to authorised persons only (preferably a lockable room) - Choose a room sheltered from the sun and with sufficient ventilation | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat10_mesures_generales_sub3_act4_risque6 | cat10_mesures_generales_sub3_act4 | Hazardous products (gas cylinders, acids, etc.) | - Poisoning | Possible if multiple issues occur simultaneously | 1 | Working hours | 10 | 1 fatality | 15 | 150 | Correction required | -Keep hazardous products in their original packaging (in particular, do not mix different products that could cause a chemical reaction) | Virtually impossible | 0.2 | Working hours | 10 | Disability, permanent injury | 7 | 14 | Acceptable
cat10_mesures_generales_sub3_act4_risque7 | cat10_mesures_generales_sub3_act4 | Hazardous products (gas cylinders, acids, etc.) | -Poisoning, fire, pollution | Highly likely | 6 | Working hours | 10 | 1 fatality | 15 | 900 | Consider stopping the work | - Check the legibility of the labels on each container (precautions for use, instructions for use, etc.) | Virtually impossible | 0.2 | Working hours | 10 | Disability, permanent injury | 7 | 14 | Acceptable
cat10_mesures_generales_sub3_act4_risque8 | cat10_mesures_generales_sub3_act4 | Piping | -Various accidents | Unusual but possible | 3 | Working hours | 10 | Disability, permanent injury | 7 | 210 | Immediate action | - Use storage racks for round materials | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat10_mesures_generales_sub4_risque1 | cat10_mesures_generales_sub4 | Containers | - Pollution | Highly likely | 6 | 2-3 times a day | 6 | Inability to work | 3 | 108 | Correction required | - Sort waste and dispose of it in the containers provided for this purpose: paper and cardboard, metals, packaging plastics, construction waste (bricks, concrete, etc.), flammable or toxic chemical products… - Have the containers emptied regularly - Place the containers away from work zones (see site layout plan) - Put the net back over the container | If everything goes wrong at once | 0.5 | 2-3 times a day | 6 | Inability to work | 3 | 9 | Acceptable
cat10_mesures_generales_sub4_risque2 | cat10_mesures_generales_sub4 | Containers | - Fire | Unusual but possible | 3 | 2-3 times a day | 6 | 1 fatality | 15 | 270 | Immediate action | - Keep waste away from any heat source - Do not burn waste (paper, cardboard, plastics, etc.) | If everything goes wrong at once | 0.5 | 2-3 times a day | 6 | 1 fatality | 15 | 45 | Attention required
cat10_mesures_generales_sub4_risque3 | cat10_mesures_generales_sub4 | Chemical, hazardous products | - Pollution | Unusual but possible | 3 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 126 | Correction required | - Comply with the manufacturer's instructions for use, safety and disposal (packaging, etc.) - Never dispose of into the sewer - Contact the prevention advisor in case of doubt | If everything goes wrong at once | 0.5 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 21 | Acceptable
cat21_manutention_et_levage_act1_risque1 | cat21_manutention_et_levage_act1 | Pressurized gas cylinders | - Fire, explosion | Unusual but possible | 3 | Every week | 3 | 1 fatality | 15 | 135 | Correction required | - Use a trolley and secure the cylinders to it. Never roll cylinders along the ground - Check the pressure of each cylinder - Fit the protective cap on each cylinder to protect the valve - Never lift or carry a cylinder by its cap or valve | Virtually impossible | 0.2 | Every week | 3 | 1 fatality | 15 | 9.0000000000000018 | Acceptable
cat21_manutention_et_levage_act1_risque2 | cat21_manutention_et_levage_act1 | Heavy, bulky objects… | - Impact and crushing injuries | Highly likely | 6 | Every week | 3 | Disability, permanent injury | 7 | 126 | Correction required | - Do not overestimate your physical strength; ask one or more colleagues for help and use suitable handling equipment | If everything goes wrong at once | 0.5 | Every week | 3 | Disability, permanent injury | 7 | 10.5 | Acceptable
cat21_manutention_et_levage_act1_risque3 | cat21_manutention_et_levage_act1 | Hazardous products | - Chemical burns - Poisoning | Highly likely | 6 | Every month | 1 | Disability, permanent injury | 7 | 42 | Attention required | - Check that each container is sealed and properly closed | If everything goes wrong at once | 0.5 | Every month | 1 | Disability, permanent injury | 7 | 3.5 | Acceptable
cat21_manutention_et_levage_act1_risque4 | cat21_manutention_et_levage_act1 | Hazardous products (cylinders, chemical products…) | - Fire, explosion | Unusual but possible | 3 | Every week | 3 | 1 fatality | 15 | 135 | Correction required | - Smoking prohibited | Virtually impossible | 0.2 | Every week | 3 | 1 fatality | 15 | 9.0000000000000018 | Acceptable
cat21_manutention_et_levage_act1_risque5 | cat21_manutention_et_levage_act1 | Hazardous products (cylinders, chemical products…) | - Various accidents | Highly likely | 6 | Every week | 3 | Disability, permanent injury | 7 | 126 | Correction required | - Ensure a firm grip and, if necessary, use handling straps, ropes, removable handles… - Clear the walkways and have a colleague guide you - Only handle the quantities needed to meet immediate requirements | If everything goes wrong at once | 0.5 | Every week | 3 | Disability, permanent injury | 7 | 10.5 | Acceptable
cat21_manutention_et_levage_act2_risque1 | cat21_manutention_et_levage_act2 | Lifting equipment, winch, hoist… | - Various accidents | Highly likely | 6 | Every week | 3 | 1 fatality | 15 | 270 | Immediate action | - Check that lifting appliances and equipment have undergone their quarterly inspection by an accredited body (inspection certificate) - Ensure the ground has sufficient bearing capacity - Mark off the lifting zone and prevent access to it - Never lift loads above people - Properly secure the load to be lifted - Follow the operating, maintenance and safety instructions - Check for the absence of obstacles or power lines before raising the load - Guide the load during lifting using a rope for particularly bulky elements | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat22_travaux_en_hauteur_act1_risque1 | cat22_travaux_en_hauteur_act1 | General measures for all types of work at height | - Various accidents | Highly likely | 6 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 252 | Immediate action | - Clear the work area of all obstacles (at ground level and at height) and mark out a safety work zone to prevent other workers from passing nearby - Check the strength, stability and slope of the ground and shore it up if necessary - Check the strength and stability of the ladder, scaffolding, scissor lift… | If everything goes wrong at once | 0.5 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 21 | Acceptable
cat22_travaux_en_hauteur_act1_risque2 | cat22_travaux_en_hauteur_act1 | General measures for all types of work at height | - Fall | Highly likely | 6 | 2-3 times a day | 6 | 1 fatality | 15 | 540 | Consider stopping the work | - Move the ladder, scaffolding, etc. as often as necessary, warning nearby workers beforehand - Do not place a ladder or scaffolding in front of a door. If unavoidable, lock the door and place a warning sign on the other side to alert third parties. Keep the blocking time as short as possible - Keep the ladder and scaffolding clean and in good condition (uprights, rungs, platforms…) - Do not work at height if you suffer from vertigo | If everything goes wrong at once | 0.5 | 2-3 times a day | 6 | 1 fatality | 15 | 45 | Attention required
cat22_travaux_en_hauteur_act1_risque3 | cat22_travaux_en_hauteur_act1 | General measures for all types of work at height | - Electrocution | Unusual but possible | 3 | 2-3 times a day | 6 | 1 fatality | 15 | 270 | Immediate action | - Use ladders or elevating equipment well away from electrical cables | Virtually impossible | 0.2 | 2-3 times a day | 6 | 1 fatality | 15 | 18.000000000000004 | Acceptable
cat22_travaux_en_hauteur_act2_risque1 | cat22_travaux_en_hauteur_act2 | Staircase | - Fall | Unusual but possible | 3 | 2-3 times a day | 6 | 1 fatality | 15 | 270 | Immediate action | - Install guardrails on staircases and inspect them regularly - Remove transport protection mats; replace with wooden boards if necessary; where removal/replacement is not possible, check and refasten them regularly | Virtually impossible | 0.2 | 2-3 times a day | 6 | 1 fatality | 15 | 18.000000000000004 | Acceptable
cat22_travaux_en_hauteur_act2_risque2 | cat22_travaux_en_hauteur_act2 | Staircase | - Head injuries | Unusual but possible | 3 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 126 | Correction required | - Do not work above other workers - Give preference to collective protective equipment (guardrails, stair scaffolding) over personal protective equipment (harnesses…) - Favour the use of platforms or scaffolding to carry out work (rather than ladders) | Possible if multiple issues occur simultaneously | 1 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 42 | Attention required
cat22_travaux_en_hauteur_act3_risque1 | cat22_travaux_en_hauteur_act3 | Mobile elevating work platform (MEWP) | - Various accidents | Highly likely | 6 | Every week | 3 | Disability, permanent injury | 7 | 126 | Correction required | - The MEWP must be moved by an authorized person - Do not exceed the maximum load (number of people, materials or equipment…) - Choose the type of elevating platform according to the local situation (indoors or outdoors), the available surface area (manoeuvring space) and the required height | Possible if multiple issues occur simultaneously | 1 | Every week | 3 | Disability, permanent injury | 7 | 21 | Acceptable
cat22_travaux_en_hauteur_act3_risque2 | cat22_travaux_en_hauteur_act3 | Mobile elevating work platform (MEWP) | - Fall | Highly likely | 6 | Every week | 3 | 1 fatality | 15 | 270 | Immediate action | - Check that the guardrails are present and correctly fitted - Keep the amount of materials or tools on the platform to a minimum to avoid overloading the lift, and distribute them correctly to prevent any imbalance - Do not use the platform guardrails as a ladder or support - Check that the equipment has a valid inspection certificate from an accredited body; carry out a visual inspection before each use | Possible if multiple issues occur simultaneously | 1 | Every week | 3 | 1 fatality | 15 | 45 | Attention required
cat22_travaux_en_hauteur_act4_risque1 | cat22_travaux_en_hauteur_act4 | Ladder | - Fall | Highly likely | 6 | Every week | 3 | 1 fatality | 15 | 270 | Immediate action | - Identify and remove any defective ladder from use - Never cut a ladder down to size - Check the stiles: must be straight - Check every rung: all present and straight - Check that the anti-slip feet are present and in good condition - Use the ladder for moving to height and for light, short-duration work only - for anything else: use scaffolding - When used to change level: the ladder must extend at least 1m (3 rungs) above the landing point; secure the top of the ladder if it has more than 25 rungs or in bad weather (wind, etc.) - Never use a ladder as a scaffold platform or as a walkway - Place a board at the foot of the ladder when the ground is not sufficiently stable - Never extend a ladder using improvised means. Always use a ladder of sufficient length - Check that the ladder is kept at the correct angle (75 degrees) - Do not lean out to reach a distant point; move the ladder as often as necessary instead - Do not climb the ladder while carrying heavy or bulky objects | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat22_travaux_en_hauteur_act4_risque2 | cat22_travaux_en_hauteur_act4 | Ladder | - Various accidents | Unusual but possible | 3 | Every week | 3 | Inability to work | 3 | 27 | Acceptable | - Move the ladder with several people if it is heavy | If everything goes wrong at once | 0.5 | Every week | 3 | Inability to work | 3 | 4.5 | Acceptable
cat22_travaux_en_hauteur_act4_risque3 | cat22_travaux_en_hauteur_act4 | Ladder | - Electrocution | Highly likely | 6 | Every week | 3 | 1 fatality | 15 | 270 | Immediate action | - Use insulated ladders (wood, carbon fibre, polyester) where there is a risk of electrocution | Virtually impossible | 0.2 | Every week | 3 | 1 fatality | 15 | 9.0000000000000018 | Acceptable
cat22_travaux_en_hauteur_act5_risque1 | cat22_travaux_en_hauteur_act5 | Erecting mobile (rolling) scaffolding | - Various accidents | Unusual but possible | 3 | Every week | 3 | 1 fatality | 15 | 135 | Correction required | - Erection to be carried out by, or under the supervision of, an authorized person - Identify and set aside any defective scaffolding components - Clear a sufficient work area for erecting, dismantling, moving and storing the scaffolding - Handle each component with care (do not throw components onto the ground) - Put the scaffolding away without delay after dismantling - Affix the VMA sud scaftag - Inspect the scaffolding before each use, once a week, and after any prolonged interruption of work - Provide protective measures at the foot of the scaffolding to prevent collisions or to divert traffic - Ensure that the maximum height of the scaffolding platform does not exceed three times the width of its smallest base, including the outriggers - Do not position the platform more than 20 centimetres from the wall | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat22_travaux_en_hauteur_act5_risque2 | cat22_travaux_en_hauteur_act5 | Use | - Various accidents | Highly likely | 6 | 2-3 times a day | 6 | 1 fatality | 15 | 540 | Consider stopping the work | - Lock the castors of the scaffolding - Keep the amount of materials or tools on the scaffolding to a minimum to avoid overloading it, and distribute them correctly to prevent any imbalance - Move carefully on the platform (do not jump) - Regularly keep the platform clean and tidy (materials, tools…) - Clean and maintain the scaffolding components before storing them - Do not move the scaffolding unnecessarily - Mark off the area where there is frequent passage or traffic | If everything goes wrong at once | 0.5 | 2-3 times a day | 6 | 1 fatality | 15 | 45 | Attention required
cat23_travaux_de_percements_risque1 | cat23_travaux_de_percements | Electric drill, core drill… | - Broken drill bit, injury, cut | Unusual but possible | 3 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 126 | Correction required | - Check that the drill bit is properly sharpened and correctly fitted - Use water, where applicable, to cool the bit while drilling | If everything goes wrong at once | 0.5 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 21 | Acceptable
cat23_travaux_de_percements_risque2 | cat23_travaux_de_percements | Electric drill, core drill… | - Material damage | Unusual but possible | 3 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 126 | Correction required | - Take the necessary measures to prevent water damage; install protective tarpaulins if necessary - Drill perpendicular to the work surface - Check for the absence of electrical cables or pipework at the drilling location | If everything goes wrong at once | 0.5 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 21 | Acceptable
cat23_travaux_de_percements_risque3 | cat23_travaux_de_percements | Electric drill, core drill… | - Hearing damage | Highly likely | 6 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 252 | Immediate action | - Warn workers near the work area; offer the use of PPE (hearing protection) | Highly likely | 6 | 2-3 times a day | 6 | First aid | 1 | 36 | Acceptable
cat24_travaux_de_mesurage_ou_de_risque1 | cat24_travaux_de_mesurage_ou_de | Laser measuring device | - Eye injuries | Highly likely | 6 | Every week | 3 | Disability, permanent injury | 7 | 126 | Correction required | - Never point the laser at a reflective surface or at anyone - Inform third parties that a laser is in use, of the risks involved and of the precautions to be taken - Never leave the laser unattended - Only switch the laser on when necessary and switch it off at other times | If everything goes wrong at once | 0.5 | Every week | 3 | Disability, permanent injury | 7 | 10.5 | Acceptable
cat25_travaux_dans_des_lieux_pa_risque1 | cat25_travaux_dans_des_lieux_pa | Dusty premises | - Various accidents | Highly likely | 6 | Every month | 1 | Disability, permanent injury | 7 | 42 | Attention required | - Isolate the work area from other rooms to prevent dust from spreading to adjacent premises - Close the ventilation vents - Switch off the ventilation system - Dampen the work area and the waste, where possible, when removing it - Extract dust at source (chasing, drilling work…) | If everything goes wrong at once | 0.5 | Every month | 1 | Disability, permanent injury | 7 | 3.5 | Acceptable
cat26_travaux_de_fixation_risque1 | cat26_travaux_de_fixation | Powder-actuated (cartridge) fixing tool | - Various accidents | Highly likely | 6 | Every month | 1 | Disability, permanent injury | 7 | 42 | Attention required | - Point the tool in a non-hazardous direction - Hold the tool perpendicular to the work surface and never point it at anyone - Check the thickness and consistency of the work surface - Check that the cartridge power matches the nail/fastener being used - The tool must only be used by a competent person with sufficient experience or specific training, who is over 18 years of age - Inform third parties that the tool is in use, of the risks involved and of the precautions to be taken | Possible if multiple issues occur simultaneously | 1 | Every month | 1 | Disability, permanent injury | 7 | 7 | Acceptable
cat27_travaux_de_faconnage_deco_risque1 | cat27_travaux_de_faconnage_deco | Electrical equipment | - Injury, cut | Unusual but possible | 3 | Working hours | 10 | Disability, permanent injury | 7 | 210 | Immediate action | - Use clamping equipment suited to the workpiece and the type of work to be carried out (vice, locking pliers, clamps…) - Hold the tool with both hands | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat27_travaux_de_faconnage_deco_risque2 | cat27_travaux_de_faconnage_deco | Electrical equipment | - Respiratory irritation, dust build-up in the lungs | Unusual but possible | 3 | Working hours | 10 | Disability, permanent injury | 7 | 210 | Immediate action | - Mark off the work area - Warn third parties - If necessary, for lengthy operations, dampen the work surface to limit dust generation | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat27_travaux_de_faconnage_deco_risque3 | cat27_travaux_de_faconnage_deco | Electrical equipment | - Deafness, noise levels exceeding 85 dB | Highly likely | 6 | Working hours | 10 | Disability, permanent injury | 7 | 420 | Consider stopping the work | - Advise third parties to move away for the duration of the work or to wear hearing protection | Virtually impossible | 0.2 | Working hours | 10 | Disability, permanent injury | 7 | 14 | Acceptable
cat27_travaux_de_faconnage_deco_risque4 | cat27_travaux_de_faconnage_deco | Electrical equipment | - Material damage | Highly likely | 6 | Working hours | 10 | Inability to work | 3 | 180 | Correction required | - Take the necessary measures to prevent damage caused by flying debris (protection of walls, tiling, windows…) | Virtually impossible | 0.2 | Working hours | 10 | First aid | 1 | 2 | Acceptable
cat27_travaux_de_faconnage_deco_risque5 | cat27_travaux_de_faconnage_deco | Cutting-off machine, angle grinder, jigsaw | - Injury, cut | Unusual but possible | 3 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 126 | Correction required | - Check that the disc/blade is correctly fitted and that the guard is in place - Use supports or ask a colleague to help hold the workpiece being cut. Never hold the workpiece with your foot - Use a disc that is in good condition and suited to the material being cut - Check that no third parties are nearby | If everything goes wrong at once | 0.5 | 2-3 times a day | 6 | Disability, permanent injury | 7 | 21 | Acceptable
cat27_travaux_de_faconnage_deco_risque6 | cat27_travaux_de_faconnage_deco | Cutting-off machine, angle grinder, jigsaw | - Fire | Highly likely | 6 | 2-3 times a day | 6 | 1 fatality | 15 | 540 | Consider stopping the work | - If necessary, request a hot work permit from the Client - Remove all flammable materials from the area | If everything goes wrong at once | 0.5 | 2-3 times a day | 6 | 1 fatality | 15 | 45 | Attention required
cat27_travaux_de_faconnage_deco_risque7 | cat27_travaux_de_faconnage_deco | Electric pipe threading machine | - Various accidents | Highly likely | 6 | Every week | 3 | Disability, permanent injury | 7 | 126 | Correction required | - Use supports for the pipes - Guard moving parts against anything that could jam the machine - Mark off the work area | Possible if multiple issues occur simultaneously | 1 | Every week | 3 | Disability, permanent injury | 7 | 21 | Acceptable
cat31_electricite_basse_et_moye_sub1_act1_risque1 | cat31_electricite_basse_et_moye_sub1_act1 | Heavy, bulky load | -Various accidents | Highly likely | 6 | Every month | 1 | Several fatalities | 40 | 240 | Immediate action | -' Plan the operation in advance and communicate with stakeholders - Demarcate the work zone and prevent access by unauthorised persons - Ensure the proper stability and fixing of the removed/dismantled elements | If everything goes wrong at once | 0.5 | Every month | 1 | Several fatalities | 40 | 20 | Acceptable
cat31_electricite_basse_et_moye_sub1_act2_risque1 | cat31_electricite_basse_et_moye_sub1_act2 | Installation, stripping, connection and insulation testing of cables in the HV cabin, HV transformer, main LV switchboard, backup generator, UPS, | - Electrocution | Highly likely | 6 | Every month | 1 | Several fatalities | 40 | 240 | Immediate action | - Demarcation of the work zone with signage preventing access - Connections shall be carried out by a person qualified BA5 - Lockout/isolation of non-essential circuits - Tests and checks before energising | If everything goes wrong at once | 0.5 | Every month | 1 | Several fatalities | 40 | 20 | Acceptable
cat31_electricite_basse_et_moye_sub1_act3_risque1 | cat31_electricite_basse_et_moye_sub1_act3 | Incorrect handling/operation | Electrocution, burns | Highly likely | 6 | Every month | 1 | Several fatalities | 40 | 240 | Immediate action | - Prior verification and approval of feasibility with the client and/or safety coordinator - Communication to stakeholders of the switching on/off - Training and authorisation for switching on/off - Demarcate, prevent and prohibit access to the work zone - Lockout in the event of switching off (7 golden rules) | If everything goes wrong at once | 0.5 | Every month | 1 | Several fatalities | 40 | 20 | Acceptable
cat31_electricite_basse_et_moye_sub1_act4_risque1 | cat31_electricite_basse_et_moye_sub1_act4 | Incorrect handling/operation | Electrocution, burns | Highly likely | 6 | Every month | 1 | Several fatalities | 40 | 240 | Immediate action | - Prior verification and approval of feasibility with the client and/or safety coordinator - Communication to stakeholders of the switching on/off - BA4 qualification or supervision by a BA5-qualified person - Demarcate, prevent and prohibit access to the work zone - Application of the seven golden rules of lockout - Earthing of the generator | If everything goes wrong at once | 0.5 | Every month | 1 | Several fatalities | 40 | 20 | Acceptable
cat31_electricite_basse_et_moye_sub2_act1_risque1 | cat31_electricite_basse_et_moye_sub2_act1 | Installation of cable tray/ladder supports at a height of less than 2 m using a stepladder and specific tools (angle grinder, drill, welding set, etc.) | - Fall from height | Unusual but possible | 3 | Working hours | 10 | Disability, permanent injury | 7 | 210 | Immediate action | - Only use the stepladder if and only if it is not reasonably possible to use small mobile scaffold towers - Check that the stepladder has a valid annual inspection (sticker/tag) - Regularly check (at least once a day) the condition of the non-slip rubber feet of the stepladders - Only personnel authorised for work at height may use the stepladder - Demarcate the work zone - Use the wrist lanyards of portable tools | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat31_electricite_basse_et_moye_sub2_act1_risque2 | cat31_electricite_basse_et_moye_sub2_act1 | Installation of cable tray/ladder supports at a height of less than 2 m using a stepladder and specific tools (angle grinder, drill, welding set, etc.) | - Electrocution | Unusual but possible | 3 | Working hours | 10 | 1 fatality | 15 | 450 | Consider stopping the work | - Protection of cables against any external damage and perfect insulation | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat31_electricite_basse_et_moye_sub2_act1_risque3 | cat31_electricite_basse_et_moye_sub2_act1 | Installation of cable tray/ladder supports at a height of less than 2 m using a stepladder and specific tools (angle grinder, drill, welding set, etc.) | - Burns from projected particles | Unusual but possible | 3 | Working hours | 10 | Disability, permanent injury | 7 | 210 | Immediate action | - Hot work permit - Zone demarcated according to possible projections | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat31_electricite_basse_et_moye_sub2_act1_risque4 | cat31_electricite_basse_et_moye_sub2_act1 | Installation of cable tray/ladder supports at a height of less than 2 m using a stepladder and specific tools (angle grinder, drill, welding set, etc.) | - Falls to the floor below | Highly likely | 6 | Working hours | 10 | 1 fatality | 15 | 900 | Consider stopping the work | - Solidly cover, properly close off or demarcate (min. distance 1.50 m) hazardous floor openings - Install guardrails (compliant: top rail, mid-rail, toe board) or safety nets for vertical openings | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat31_electricite_basse_et_moye_sub2_act2_risque1 | cat31_electricite_basse_et_moye_sub2_act2 | Installation of cable tray/ladder supports at a height of more than 2 m using scaffolding or a mobile elevating work platform (MEWP), using specific tools (angle grinder, drill, welding set, etc.) | - Fall from height - Overturning | Highly likely | 6 | Working hours | 10 | 1 fatality | 15 | 900 | Consider stopping the work | Scaffolding: - Use appropriate scaffolding, erected by competent workers under the direction of a competent and authorised person - The scaffolding must be inspected daily, the scaftag must be replaced every week - The brakes must be locked when a worker is on the scaffold. - Top rails, mid-rails and toe boards must be present at all times - The work zone must be demarcated - No relocation may take place with a person or material present on the platform. - Identify the route and obstacles before beginning to move MEWP: - MEWPs shall be inspected when unloaded from the truck (visually, valid periodic inspection) - Only authorised personnel may move the MEWPs | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat31_electricite_basse_et_moye_sub2_act2_risque2 | cat31_electricite_basse_et_moye_sub2_act2 | Installation of cable tray/ladder supports at a height of more than 2 m using scaffolding or a mobile elevating work platform (MEWP), using specific tools (angle grinder, drill, welding set, etc.) | - electrocution | Unusual but possible | 3 | Working hours | 10 | 1 fatality | 15 | 450 | Consider stopping the work | - Protection of cables against any external damage and perfect insulation | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat31_electricite_basse_et_moye_sub2_act2_risque3 | cat31_electricite_basse_et_moye_sub2_act2 | Installation of cable tray/ladder supports at a height of more than 2 m using scaffolding or a mobile elevating work platform (MEWP), using specific tools (angle grinder, drill, welding set, etc.) | - Burns from projected particles | Unusual but possible | 3 | Working hours | 10 | Disability, permanent injury | 7 | 210 | Immediate action | - Hot work permit - Zone demarcated according to possible projections | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat31_electricite_basse_et_moye_sub2_act3_risque1 | cat31_electricite_basse_et_moye_sub2_act3 | Cable pulling at a height of less than 2 m using stepladders and specific tools (jack-and-spindle or cable drum unwinder) | - Fall from height | Unusual but possible | 3 | Working hours | 10 | Disability, permanent injury | 7 | 210 | Immediate action | - Only use the stepladder if and only if it is not reasonably possible to use small mobile scaffold towers - Check that the stepladder has a valid annual inspection (sticker/tag) - Regularly check (at least once a day) the condition of the non-slip rubber feet of the stepladders - Only personnel authorised for work at height may use the stepladder - Demarcate the work zone - Use the wrist lanyards of portable tools | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat31_electricite_basse_et_moye_sub2_act3_risque2 | cat31_electricite_basse_et_moye_sub2_act3 | Cable pulling at a height of less than 2 m using stepladders and specific tools (jack-and-spindle or cable drum unwinder) | - Electrocution | Unusual but possible | 3 | Working hours | 10 | 1 fatality | 15 | 450 | Consider stopping the work | - Protection of cables against any external damage and perfect insulation | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat31_electricite_basse_et_moye_sub2_act3_risque3 | cat31_electricite_basse_et_moye_sub2_act3 | Cable pulling at a height of less than 2 m using stepladders and specific tools (jack-and-spindle or cable drum unwinder) | - Burns from projected particles | Unusual but possible | 3 | Working hours | 10 | Disability, permanent injury | 7 | 210 | Immediate action | - Hot work permit - Zone demarcated according to possible projections | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat31_electricite_basse_et_moye_sub2_act3_risque4 | cat31_electricite_basse_et_moye_sub2_act3 | Cable pulling at a height of less than 2 m using stepladders and specific tools (jack-and-spindle or cable drum unwinder) | - Falls to the floor below | Highly likely | 6 | Working hours | 10 | 1 fatality | 15 | 900 | Consider stopping the work | - Solidly cover, properly close off or demarcate (min. distance 1.50 m) hazardous floor openings - Install guardrails (compliant: top rail, mid-rail, toe board) or safety nets for vertical openings | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat31_electricite_basse_et_moye_sub2_act3_risque5 | cat31_electricite_basse_et_moye_sub2_act3 | Cable pulling at a height of less than 2 m using stepladders and specific tools (jack-and-spindle or cable drum unwinder) | - Overturning - Crushing - Trapping | Unusual but possible | 3 | Working hours | 10 | 1 fatality | 15 | 450 | Consider stopping the work | - Stabilise and secure cable drums and unwinders - Demarcate the unwinding zone as well as the route taken by the cable - Check the cable retention systems (sleeves/couplings, etc.) | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat31_electricite_basse_et_moye_sub2_act4_risque1 | cat31_electricite_basse_et_moye_sub2_act4 | Cable pulling at a height of more than 2 m using scaffolding or a MEWP and specific tools (jack-and-spindle or cable drum unwinder) | - Fall from height - Overturning | Highly likely | 6 | Working hours | 10 | 1 fatality | 15 | 900 | Consider stopping the work | Scaffolding: - Use appropriate scaffolding, erected by competent workers under the direction of a competent and authorised person - The scaffolding must be inspected daily, the scaftag must be replaced every week - The brakes must be locked when a worker is on the scaffold. - Top rails, mid-rails and toe boards must be present at all times - The work zone must be demarcated - No relocation may take place with a person or material present on the platform. - Identify the route and obstacles before beginning to move MEWP: - MEWPs shall be inspected when unloaded from the truck (visually, valid periodic inspection) - Only authorised personnel may move the MEWPs | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat31_electricite_basse_et_moye_sub2_act4_risque2 | cat31_electricite_basse_et_moye_sub2_act4 | Cable pulling at a height of more than 2 m using scaffolding or a MEWP and specific tools (jack-and-spindle or cable drum unwinder) | - electrocution | Unusual but possible | 3 | Working hours | 10 | 1 fatality | 15 | 450 | Consider stopping the work | - Protection of cables against any external damage and perfect insulation | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat31_electricite_basse_et_moye_sub2_act4_risque3 | cat31_electricite_basse_et_moye_sub2_act4 | Cable pulling at a height of more than 2 m using scaffolding or a MEWP and specific tools (jack-and-spindle or cable drum unwinder) | - Burns from projected particles | Unusual but possible | 3 | Working hours | 10 | Disability, permanent injury | 7 | 210 | Immediate action | - Hot work permit - Zone demarcated according to possible projections | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat31_electricite_basse_et_moye_sub2_act4_risque4 | cat31_electricite_basse_et_moye_sub2_act4 | Cable pulling at a height of more than 2 m using scaffolding or a MEWP and specific tools (jack-and-spindle or cable drum unwinder) | - Overturning - Crushing - Trapping | Unusual but possible | 3 | Working hours | 10 | 1 fatality | 15 | 450 | Consider stopping the work | - Stabilise and secure cable drums and unwinders - Demarcate the unwinding zone as well as the route taken by the cable - Check the cable retention systems (sleeves/couplings, etc.) | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat31_electricite_basse_et_moye_sub2_act5_risque1 | cat31_electricite_basse_et_moye_sub2_act5 | Cable pulling in technical voids/service ducts | - fall | Highly likely | 6 | Every month | 1 | 1 fatality | 15 | 90 | Correction required | - Demarcation of the zone where the floor has been opened | If everything goes wrong at once | 0.5 | Every month | 1 | 1 fatality | 15 | 7.5 | Acceptable
cat31_electricite_basse_et_moye_sub2_act5_risque2 | cat31_electricite_basse_et_moye_sub2_act5 | Cable pulling in technical voids/service ducts | - electrocution | Unusual but possible | 3 | Every month | 1 | 1 fatality | 15 | 45 | Attention required | - Special precautions if pulling has to take place beneath live switchboards/panels (access to the panels to be made impossible by means of rigid protective screens) - Sufficient lighting - Prohibition on working alone | Virtually impossible | 0.2 | Every month | 1 | 1 fatality | 15 | 3 | Acceptable
cat31_electricite_basse_et_moye_sub2_act5_risque3 | cat31_electricite_basse_et_moye_sub2_act5 | Cable pulling in technical voids/service ducts | - Overturning - Crushing - Trapping | Unusual but possible | 3 | Working hours | 10 | 1 fatality | 15 | 450 | Consider stopping the work | - Stabilise and secure cable drums and unwinders - Demarcate the unwinding zone as well as the route taken by the cable - In the event of pulling across several floors through accessible shaft openings, notify the safety coordinator and demarcate the zones to prevent access - Check the cable retention systems (sleeves/couplings, etc.) | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat31_electricite_basse_et_moye_sub2_act6_risque1 | cat31_electricite_basse_et_moye_sub2_act6 | Cable pulling in trenches | - Overturning - Crushing - Trapping | Highly likely | 6 | Working hours | 10 | Disability, permanent injury | 7 | 420 | Consider stopping the work | - Stabilise and secure cable drums and unwinders - Demarcate the unwinding zone as well as the route taken by the cable - Check the cable retention systems (sleeves/couplings, etc.) | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat31_electricite_basse_et_moye_sub2_act7_risque1 | cat31_electricite_basse_et_moye_sub2_act7 | Excavation of trenches using specific tools and equipment (shovel, pickaxe, excavator, etc.) | - fall | Highly likely | 6 | Working hours | 10 | Disability, permanent injury | 7 | 420 | Consider stopping the work | - Demarcation of the trench (min. 1.50 m if barrier tape is used) - Installation of a footbridge with integrated guardrails if the trench needs to be crossed (walkway) - Keep the trench open for as short a time as possible | If everything goes wrong at once | 0.5 | Working hours | 10 | Disability, permanent injury | 7 | 35 | Acceptable
cat31_electricite_basse_et_moye_sub2_act7_risque2 | cat31_electricite_basse_et_moye_sub2_act7 | Excavation of trenches using specific tools and equipment (shovel, pickaxe, excavator, etc.) | - Electrocution - Explosion | Highly likely | 6 | Every month | 1 | 1 fatality | 15 | 90 | Correction required | - Verification with the client or the competent authorities of the presence of utility lines - Location and marking of utility lines - Manual digging in the zone where utility lines are present | If everything goes wrong at once | 0.5 | Every month | 1 | 1 fatality | 15 | 7.5 | Acceptable
cat31_electricite_basse_et_moye_sub2_act8_risque1 | cat31_electricite_basse_et_moye_sub2_act8 | Installation of conduit/ducting | - Fall | Highly likely | 6 | 2-3 times a day | 6 | 1 fatality | 15 | 540 | Consider stopping the work | - Immediate collection of tube waste and any rubble - Demarcation of the work zone | If everything goes wrong at once | 0.5 | 2-3 times a day | 6 | 1 fatality | 15 | 45 | Attention required
cat32_hvac_froid_sub1_act1_risque1 | cat32_hvac_froid_sub1_act1 | Gas cylinders, acids, paints… | -Various accidents | Unusual but possible | 3 | Every month | 1 | Disability, permanent injury | 7 | 21 | Acceptable | - Follow the manufacturer's instructions (instructions for use, precautions to take…) - Read the safety instructions related to the products used - Use only the quantities needed to meet immediate requirements - Warn third parties of the hazards associated with the dangerous products used | Unusual but possible | 3 | Every month | 1 | Disability, permanent injury | 7 | 21 | Acceptable
cat32_hvac_froid_sub1_act1_risque2 | cat32_hvac_froid_sub1_act1 | Gas cylinders, acids, paints… | - Fire, explosion | Possible if multiple issues occur simultaneously | 1 | Every month | 1 | 1 fatality | 15 | 15 | Acceptable | - Smoking prohibited - Keep dangerous products away from all heat sources | Possible if multiple issues occur simultaneously | 1 | Every month | 1 | 1 fatality | 15 | 15 | Acceptable
cat32_hvac_froid_sub1_act1_risque3 | cat32_hvac_froid_sub1_act1 | Gas cylinders, acids, paints… | - Respiratory injury, poisoning, asphyxiation | Unusual but possible | 3 | Every month | 1 | Disability, permanent injury | 7 | 21 | Acceptable | - Check that the work area is adequately ventilated and keep dangerous products away from the ventilation grilles (air intake) of the existing installation | Unusual but possible | 3 | Every month | 1 | Disability, permanent injury | 7 | 21 | Acceptable
cat32_hvac_froid_sub1_act1_risque4 | cat32_hvac_froid_sub1_act1 | Pressurized gas cylinders (oxygen, acetylene…) | - Fire, explosion | Highly likely | 6 | Every week | 3 | 1 fatality | 15 | 270 | Immediate action | - Never use oxygen cylinders to improve air quality - Place cylinders in an upright position - Remove all traces of grease or oil from the cylinders… - Use equipment suited to the type of gas used - Maintain a minimum distance of three metres between the cylinders and any heat source - Keep cylinders upright or tilt them by a maximum of 30 degrees - Set the pressure gauges to the values recommended by the manufacturer - Cordon off the work area | Unusual but possible | 3 | Every week | 3 | Disability, permanent injury | 7 | 63 | Attention required
cat32_hvac_froid_sub1_act1_risque5 | cat32_hvac_froid_sub1_act1 | Chemical or hazardous products (acids, paints…) | - Various accidents, poisoning… | Unusual but possible | 3 | Every month | 1 | 1 fatality | 15 | 45 | Attention required | - During a work phase, never leave products unattended - Warn third parties of the use of dangerous products - Do not mix different chemical products unless specific instructions have been received - Close each container immediately after use - Do not decant dangerous products into containers not intended for this purpose (mineral water bottle…) | Possible if multiple issues occur simultaneously | 1 | Every month | 1 | 1 fatality | 15 | 15 | Acceptable
cat32_hvac_froid_sub1_act1_risque6 | cat32_hvac_froid_sub1_act1 | Chemical or hazardous products (acids, paints…) | - Skin injuries | Unusual but possible | 3 | Every month | 1 | Disability, permanent injury | 7 | 21 | Acceptable | - Rinse thoroughly with cold water in case of contact with the skin (the use of cold water closes the skin's pores and thus prevents the product from penetrating) | Possible if multiple issues occur simultaneously | 1 | Every month | 1 | Disability, permanent injury | 7 | 7 | Acceptable
cat32_hvac_froid_sub1_act1_risque7 | cat32_hvac_froid_sub1_act1 | Chemical or hazardous products (acids, paints…) | - Damage to premises | Unusual but possible | 3 | Every month | 1 | Disability, permanent injury | 7 | 21 | Acceptable | - Use protective tarpaulins where necessary to prevent splashing on walls, windows, the floor… | Possible if multiple issues occur simultaneously | 1 | Every month | 1 | Disability, permanent injury | 7 | 7 | Acceptable
cat32_hvac_froid_sub1_act2_risque1 | cat32_hvac_froid_sub1_act2 | Miscellaneous | -Various accidents | Highly likely | 6 | Every week | 3 | 1 fatality | 15 | 270 | Immediate action | - Position equipment so as to make it easy to cut off the power or gas supply - Use clamping equipment suited to the workpiece and the type of work to be carried out (vice, locking pliers…) - Clear flammable items from the work area. - Use a fire-resistant blanket to limit the spread of incandescent particles and protect flammable materials that cannot be moved. - Place an ABC powder fire extinguisher near the workstation - Do not place hot objects on a surface that is not heat-resistant - Ensure adequate ventilation of the work area - Regularly check the wear of cables or supply hoses | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat32_hvac_froid_sub1_act2_risque2 | cat32_hvac_froid_sub1_act2 | Oxyacetylene torch | - Flashback, fire, explosion | Unusual but possible | 3 | Every week | 3 | 1 fatality | 15 | 135 | Correction required | - Regularly unclog the torch nozzle - Place cylinders in an upright position - Keep near the workstation only the number of cylinders needed for the day's work - Close the cylinders after use - Do not use the cylinders as a support for workpieces - Place the cylinders 3 metres from the torch '- Place the cylinders and supply hoses away from walkways, secured to a support - Check the cleanliness of the cylinders, supply hoses and torch, regulator... (no traces of grease, oil…) - Set the pressure gauges to the values recommended by the manufacturer and adjust the gas outlet speed to the nozzle diameter | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat32_hvac_froid_sub1_act2_risque3 | cat32_hvac_froid_sub1_act2 | Welding set | - Electrocution | Unusual but possible | 3 | Every week | 3 | 1 fatality | 15 | 135 | Correction required | - Work in an area protected from weather conditions and any moisture - Connect the earth clamp directly to the workpiece, as close as possible to the part being welded - Fully disconnect the welding set before removing the earth clamp - Never place the electrode holder on the ground, on the workpiece, or on any electrically connected part | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat32_hvac_froid_sub1_act2_risque4 | cat32_hvac_froid_sub1_act2 | Mirror welding / butt fusion welding (thermofusion - PE) | - Burns | Unusual but possible | 3 | Every week | 3 | Disability, permanent injury | 7 | 63 | Attention required | - Mark off the work area - Warn third parties | If everything goes wrong at once | 0.5 | Every week | 3 | Disability, permanent injury | 7 | 10.5 | Acceptable
cat32_hvac_froid_sub1_act3_risque1 | cat32_hvac_froid_sub1_act3 | Mineral wool, dust | - Irritation, coughing, eye injuries | Highly likely | 6 | Every week | 3 | Disability, permanent injury | 7 | 126 | Correction required | - Warn and keep third parties away - Shut off/block the ventilation | Possible if multiple issues occur simultaneously | 1 | Every week | 3 | Disability, permanent injury | 7 | 21 | Acceptable
cat32_hvac_froid_sub1_act4_risque1 | cat32_hvac_froid_sub1_act4 | - Notice board, voltmeter | - Electrocution | Highly likely | 6 | Every week | 3 | 1 fatality | 15 | 270 | Immediate action | - 7 golden rules procedure carried out by a person qualified BA5 - Notify the client (submit a request for authorisation) and third parties of the power cut | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat32_hvac_froid_sub1_act5_risque1 | cat32_hvac_froid_sub1_act5 | Detection work (gas leak, …) | - Fire, explosion | Highly likely | 6 | Every month | 1 | Several fatalities | 40 | 240 | Immediate action | - Smoking prohibited at the workplace - Do not use equipment that could produce a spark - Ventilate the room - Open the doors and windows of the room to reduce the blast effect in the event of an explosion - Use liquid soap on the piping to detect leaks | If everything goes wrong at once | 0.5 | Every month | 1 | Several fatalities | 40 | 20 | Acceptable
cat32_hvac_froid_sub1_act6_risque1 | cat32_hvac_froid_sub1_act6 | Work on an electrical installation, on the fire detection system… | -Various accidents | Highly likely | 6 | Every month | 1 | 1 fatality | 15 | 90 | Correction required | - Do not work on a live installation - Lockout carried out (7 golden rules) by a person qualified BA5 - Place a warning notice at the point where the installation is taken out of service (name, telephone, expected duration, reason): the shutdown must be carried out in the presence of the client - Restore the installation to service in the presence of the client, carried out by the person who previously shut it down (see notice board) | Possible if multiple issues occur simultaneously | 1 | 2-3 times a year | 0.5 | 1 fatality | 15 | 7.5 | Acceptable
cat32_hvac_froid_sub1_act6_risque2 | cat32_hvac_froid_sub1_act6 | Gas installation | - Fire, explosion | Highly likely | 6 | 2-3 times a year | 0.5 | Several fatalities | 40 | 120 | Correction required | - Do not smoke - Shut off the gas supply directly at the meter - Where necessary or requested, provide a measuring device for explosive gases and oxygen levels | If everything goes wrong at once | 0.5 | 2-3 times a year | 0.5 | Several fatalities | 40 | 10 | Acceptable
cat32_hvac_froid_sub1_act6_risque3 | cat32_hvac_froid_sub1_act6 | Nitrogen pressure test of the installation before charging with gas (at 1.1 x nominal pressure) | -Risk of anoxia due to a nitrogen concentration in the air in a non-ventilated / confined space | Unusual but possible | 3 | Every month | 1 | Several fatalities | 40 | 120 | Correction required | - Use an O2 level monitoring / gas detection device during the intervention - Carry out the gas charging at the unit or, at a minimum, in a well-ventilated space - Ensure that detection measures are taken every time hazardous gas is used and that the detection equipment is calibrated, checked and maintained periodically. - Check the nitrogen supply hose / cylinder and replace it periodically - In confined spaces, interventions are always carried out by at least 2 workers | Possible if multiple issues occur simultaneously | 1 | Every month | 1 | Several fatalities | 40 | 40 | Attention required
cat32_hvac_froid_sub1_act6_risque4 | cat32_hvac_froid_sub1_act6 | Nitrogen pressure test of the installation before charging with gas (at 1.1 x nominal pressure) | - Fire, explosion | Highly likely | 6 | Every month | 1 | Several fatalities | 40 | 240 | Immediate action | - Do not smoke - Check the nitrogen supply hose / cylinder and replace it periodically | If everything goes wrong at once | 0.5 | Every month | 1 | Several fatalities | 40 | 20 | Acceptable
cat32_hvac_froid_sub1_act6_risque5 | cat32_hvac_froid_sub1_act6 | Gas charging (ammonia, freon, R404, CO2, ...) and pressurising the installation | - Risk of inhaling gas / ammonia | Highly likely | 6 | Every month | 1 | Several fatalities | 40 | 240 | Immediate action | - Warn and keep third parties away | If everything goes wrong at once | 0.5 | Every month | 1 | Several fatalities | 40 | 20 | Acceptable
cat32_hvac_froid_sub1_act7_risque1 | cat32_hvac_froid_sub1_act7 | Dismantling work | -Various accidents | Highly likely | 6 | Every month | 1 | Several fatalities | 40 | 240 | Immediate action | - Ensure that piping or equipment that has contained gas or chemical products (corrosive, flammable…) has been cleaned - Take pressurised piping out of service | Possible if multiple issues occur simultaneously | 1 | Every month | 1 | Several fatalities | 40 | 40 | Attention required
cat32_hvac_froid_sub1_act8_risque1 | cat32_hvac_froid_sub1_act8 | Hydraulic excavator | - Soil pollution caused by oil or fuel. | Highly likely | 6 | Every week | 3 | Disability, permanent injury | 7 | 126 | Correction required | - Check the condition of the flexible hoses. Refuel and top up the engine oil and hydraulic oil reservoirs in the areas designated for this purpose. - Provide absorbent materials for hydrocarbon residue on the ground to prevent any pollution | Possible if multiple issues occur simultaneously | 1 | Every week | 3 | Disability, permanent injury | 7 | 21 | Acceptable
cat32_hvac_froid_sub1_act8_risque2 | cat32_hvac_froid_sub1_act8 | Hydraulic excavator | - Contact with a person. | Highly likely | 6 | Every week | 3 | 1 fatality | 15 | 270 | Immediate action | - Prohibit entering the machine's operating zone without notifying the operator (visual contact) - Stop the machine if a person enters the danger zone. | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat32_hvac_froid_sub1_act8_risque3 | cat32_hvac_froid_sub1_act8 | Hydraulic excavator | - Contact with an electrical line. | Highly likely | 6 | Every week | 3 | 1 fatality | 15 | 270 | Immediate action | - Maintain a minimum distance of 2 m between the end of the arm and the live line. For high voltage, this distance must be greater than (2.5m + Voltage in kV x 0.01). '- If your construction equipment comes into contact with an electrical cable: ° switch off the ignition, notify your supervisor | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat32_hvac_froid_sub1_act8_risque4 | cat32_hvac_froid_sub1_act8 | Hydraulic excavator | - Tearing/rupture of cables or pipes. | Highly likely | 6 | Every week | 3 | 1 fatality | 15 | 270 | Immediate action | - Keep utility plans on site and mark them on the ground where possible. - Carry out preliminary probing/trial pits. - Avoid mechanical work too close to utility networks, especially where the location plans are imprecise. - Require access to the bottom of the excavation to be by ladder only. - Take the depth of the installations into account | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat32_hvac_froid_sub1_act8_risque5 | cat32_hvac_froid_sub1_act8 | Hydraulic excavator | - Collapse of the excavation. | Highly likely | 6 | Every week | 3 | 1 fatality | 15 | 270 | Immediate action | - Prohibit access to excavations for any unauthorised persons | Virtually impossible | 0.2 | Every week | 3 | 1 fatality | 15 | 9.0000000000000018 | Acceptable
cat32_hvac_froid_sub1_act8_risque6 | cat32_hvac_froid_sub1_act8 | Trucks | - Collapse of trenches. | Highly likely | 6 | Every week | 3 | Several fatalities | 40 | 720 | Consider stopping the work | - Use trench shoring. - The shoring must project above ground level to act as a guardrail, or a guardrail must be provided if there is no such projection. - Store excavated soil far enough from the trench to prevent collapse. - Clear the edges of the excavation to prevent materials or objects from falling in. - Prohibit working one above the other. Take protective measures against the risk of collapse for workers inside the trench. | If everything goes wrong at once | 0.5 | Every week | 3 | Several fatalities | 40 | 60 | Attention required
cat33_photovoltaique_sub1_act1_risque1 | cat33_photovoltaique_sub1_act1 | Working with a (mobile) crane; telescopic boom | - overturning - impact - crushing - falling objects - Entrapment between the crane and the installation | Highly likely | 6 | Every week | 3 | Several fatalities | 40 | 720 | Consider stopping the work | - confirm the bearing capacity of the ground before setup - No open trenches/underground pits near the mobile crane - Install base plates ) if necessary Defensive driving - Quarterly SECT (technical inspection body) inspection. - crane operator certification of personnel (if internal); training verification if external . - Set up within the designated and cordoned-off work area - no presence within the slewing radius while in operation. - Be alert to obstacles specific to the building/site. - Be alert to the ballast blocks - Check daily that they have not shifted (if so, report it) - From a chassis of 8 or 10 metres, anti-slip measures are required between the blocks - See instructions if overhead power lines are present | If everything goes wrong at once | 0.5 | Every week | 3 | Several fatalities | 40 | 60 | Attention required
cat33_photovoltaique_sub1_act2_risque1 | cat33_photovoltaique_sub1_act2 | Working on the roof | - Falling objects - fall of a person | Highly likely | 6 | 2-3 times a day | 6 | 1 fatality | 15 | 540 | Consider stopping the work | - minimum parapet height of 1m (reference chart) - temporary collective protection using guardrails and/or safety netting if the parapet is insufficient or absent. - collective protection adapted to the degree of roof slope. | Virtually impossible | 0.2 | 2-3 times a day | 6 | 1 fatality | 15 | 18.000000000000004 | Acceptable
cat33_photovoltaique_sub1_act3_risque1 | cat33_photovoltaique_sub1_act3 | Working in windy conditions | - Falling objects - fall of a person | Highly likely | 6 | Working hours | 10 | 1 fatality | 15 | 900 | Consider stopping the work | - Stop work when the wind reaches the speed prescribed by the equipment manufacturer (specifications specific to the mobile crane). - proper securing/lashing of loads - Remove all tools at the end of the working day. -If necessary, add extra ballast to materials or remove them - Store materials as close as possible to the edge of the roof. -No handling in case of strong wind. - do not handle panels with the largest surface facing the wind - immediately lay down and fix the panels to the structure - when dismantling: remove, lay flat and evacuate as soon as possible | Virtually impossible | 0.2 | Working hours | 10 | 1 fatality | 15 | 30 | Acceptable
cat33_photovoltaique_sub1_act4_risque1 | cat33_photovoltaique_sub1_act4 | Miscellaneous | -Various accidents | Highly likely | 6 | Every week | 3 | 1 fatality | 15 | 270 | Immediate action | - Position equipment so as to make it easy to cut off the power or gas supply - Use clamping equipment suited to the workpiece and the type of work to be carried out (vice, locking pliers…) - Clear flammable items from the work area. - Use a fire-resistant blanket to limit the spread of incandescent particles and protect flammable materials that cannot be moved. - Place an ABC powder fire extinguisher near the workstation - Do not place hot objects on a surface that is not heat-resistant - Ensure adequate ventilation of the work area - Regularly check the wear of cables or supply hoses | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat33_photovoltaique_sub1_act4_risque2 | cat33_photovoltaique_sub1_act4 | Oxyacetylene torch | - Flashback, fire, explosion | Unusual but possible | 3 | Every week | 3 | 1 fatality | 15 | 135 | Correction required | - Regularly unclog the torch nozzle - Place cylinders in an upright position - Keep near the workstation only the number of cylinders needed for the day's work - Close the cylinders after use - Do not use the cylinders as a support for workpieces - Place the cylinders 3 metres from the torch '- Place the cylinders and supply hoses away from walkways, secured to a support - Check the cleanliness of the cylinders, supply hoses and torch, regulator... (no traces of grease, oil…) - Set the pressure gauges to the values recommended by the manufacturer and adjust the gas outlet speed to the nozzle diameter | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat33_photovoltaique_sub1_act4_risque3 | cat33_photovoltaique_sub1_act4 | Welding set | - Electrocution | Unusual but possible | 3 | Every week | 3 | 1 fatality | 15 | 135 | Correction required | - Work in an area protected from weather conditions and any moisture - Connect the earth clamp directly to the workpiece, as close as possible to the part being welded - Fully disconnect the welding set before removing the earth clamp - Never place the electrode holder on the ground, on the workpiece, or on any electrically connected part | If everything goes wrong at once | 0.5 | Every week | 3 | 1 fatality | 15 | 22.5 | Acceptable
cat33_photovoltaique_sub1_act4_risque4 | cat33_photovoltaique_sub1_act4 | Mirror welding / butt fusion welding (thermofusion - PE) | - Burns | Unusual but possible | 3 | Every week | 3 | Disability, permanent injury | 7 | 63 | Attention required | - Mark off the work area - Warn third parties | If everything goes wrong at once | 0.5 | Every week | 3 | Disability, permanent injury | 7 | 10.5 | Acceptable
cat33_photovoltaique_sub1_act4_risque5 | cat33_photovoltaique_sub1_act4 | Cutting metal profiles with an angle grinder | - fire | Highly likely | 6 | 2-3 times a day | 6 | Several fatalities | 40 | 1440 | Consider stopping the work | - Know the site instructions for fire and evacuation. - carry out cutting work in a non-flammable area (concrete, etc.) - protect at-risk areas with fire-resistant material - always keep an ABC fire extinguisher within reach - even if a fire outbreak is brought under control, call 112 for inspection | Virtually impossible | 0.2 | 2-3 times a day | 6 | Several fatalities | 40 | 48.000000000000007 | Attention required